Controller 6000 Configuration:

1. Click **Configure** from the menu bar
2. Click **Hardware.**
3. Right click and select **New…Controllers**
4. Click **Controller 6000**
5. Name the new Controller
6. Assign the alarm zone to the controller by pressing on event response tab
7. Click the **Setup** tab



1. Enter the **MAC Address** for the Controller
2. Enter the **IP Address, Gateway and Subnet** information for the Controller
3. Click Apply
4. Click on advanced networking tab and enter the server IP.
5. Click Ok.

Here is another way to configure the controller manually:

When the Gallagher Controller 6000 is started (reset or power-up) with DIP switches 2 and 3 enabled, the Controller uses the following default addresses:

Controller IP: 192.168.1.199

Server IP: 192.168.1.198

Gateway: 192.168.1.198

Subnet: 255.255.255.0

First of all, turn **Dip switch 1** ON and then follow these steps.

Open the Internet Browser

2. In the Address field enter the IP Address of the Controller as follows:

http://192.168.1.199/config

3. Press the Enter key on your keyboard

The Enter Network Password screen displays

4. Enter config for the 'User Name' (all in lower case), and CardaxFT for the 'Password'.

5. Click the OK button

The Gallagher Controller Configuration screen displays.

The link to the 'LAN Configuration' page will allow the controllers IP addresses to be changed and saved.